## ERS
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | ENGINE ROOM SIMULATOR METI
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
PROSEDUR MENGHIDUPKAN:
1 | Hidupkan UPS semua computer (6 UPS).
-Tekan dan tahan tombol (ı) sampai bunyi, baru dilepas.
2 | Hidupkan instructor console.
-Putar sakelar penjalan pada posisi “ON”, tunggu ± 1 menit
3 | Hidupkan CPU instructor PC di instructor console.
-Tekan tombol “ON” pada CPU dan lepas,tunggu sampai semua computer menyala dan display siap.
4 | Pilih mode latihan pada selector mode.
-Tekan salah satu tombol dari 1-7.
5 | Start program.
-Tekan tombol start pada instructor console.
-Konfirmasi keadaan sakelar-sakelar sesuai permintaan pada display calculator PC.
-Klik tombol execute pada layar monitor.
6 | Simulator siap digunakan.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | ENGINE ROOM SIMULATOR METI
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
PROSEDUR MEMATIKAN
1 | Tekan tombol stop pada instructor console.
2 | Klik “end” pada layar monitor instructor PC.
3 | Konfirmasi mematikan seluruh PC,klik “yes”.
4 | Setelah semua computer mati,putar sakelar pada posisi “OFF”.
5 | Selesai.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002

## LCHS
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | LCHS
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
PROSEDUR MENGHIDUPKAN
1 | Hidukpan semua breaker MCB pada simulator
2 | Hidupkan komputer Consule
-tunggu semua komputer on
3 | Pilih scenario yang diinginkan dan siap digunakan
PROSEDUR MEMATIKAN
1 | Klik EXIT dan pilih YES pada komputer Consule
Tunggu semua komter mati
2 | Matikan semua MCB pada simulator
3 | Selesai
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002

## SMS
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | SHIP MANEUVERING SIMULATOR
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
PROSEDUR MENGHIDUPKAN
A | Ø Ruang CPU
1. Nyalakan Power pada Dristribution Board (no.1)
2. Nyalakan Power pada cabinet 2 (no.2)
3. Nyalakan Power pada cabinet 3 (no.3)
4. Nyalakan UPS pada cabinet1,3,dan 5 (no.4 s/d 10)
5. Nyalakan Instructur PC pada cabinet 3 (no.11)
B | Ø Ruang Instructur/Control
1. Pada monitor no.2 akan muncul User name dan password,tekan Enter 3 kali akan muncul Administrator,pilih no.1 (☼)kemudian Enter
2. Pada monitor no.1 pilih star SMS dan Wake Up sampai indicator lampu berubah warna hijau
C | Ø Ruang Bridge
1. Nyalakan power no.1 s/d 8 pada power box
2. Nyalakan power no.9 pada Bridge Control consule
3. Nyalakan semua peralatan navigasi
D | Ø Ruang Instructur/Control
1. Close start SMS
2. Pilih SMS training
3. SIMULATOR SIAP UNTUK DIOPERASIKAN
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | SHIP MANEUVERING SIMULATOR
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
PROSEDUR MEMATIKAN
A | Ø Ruang Bridge
Matikan semua peralatan navigasi
B | Ø Ruang Instructur/Control
1. Pada display main menu pilih Stop SMS
2. Pada display stop SMS, pilih Shut Down dan tunggu sampai indicator berubah warna merah kecuali indicator Inst-PC tetap hijau
C | Ø Ruang Instructur/Control
1. Close stop SMS
2. Pilih Shut down dan matikan computer
D | Ø Ruang CPU
1. Matikan power UPS no.10 s/d 4 pada cabinet 1,3,dan 5
2. Matikan power no.3 pada cabinet 3
3. Matikan power no.2 pada cabinet 2
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002

## KIMIA (2)
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | KIMIA
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
Function of gas detector was carried program as follows: a. How to install : 1. Install thermostatic bath at a flat place free from resonance. 2. Pour water into a test tub. 3. Make sure that all connectors of the temperature sensor, stirrer and heater have been securily connected 4. Set the temperature used of measuring kinematic viscosity to a thermometer holder 5. Connect a rubber stopper of cooling coil, a water tap and a drain outlet using a vinyl tube, etc and fix it by a band 6. Make sure that the electric leakage ciecuit breaker has been turned off. 7. Connect the power plug on the thermostatic bath to the AC mains. 8. Check the grounding wire firmly grounded. b. How to operate 1. Turn on the electric leakage circuit breaker (normally in ON status) 2. Set test temperature you wish to set using the SP changeover switch. 3. When setting the test temperature at 30 C, run water into cooling coil, depending on the room temperature. 4. Turn on the MAIN switch 5. When the bath water temperature rises and becomes stable, the green belt is lit and that temperature is maintained. 6. Turn on LAMP switch 7. When the temperatures reaches the test temperature, put a sample into a glass-made capillary viscometer and measure kinematic viscosity according to the ASTM D445 testing method. For reference : The test temperature can be easily changed using the SP changeover switch
Procedure for switch off gas detector 1. Turn off the MAIN switch when you have finished the test. 2. For the next test, turning on the MAIN switch only is enough as the set temperature value is automatically retained.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | KIMIA
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
Function of Flash Point Tester laboratory was carried program as follows: a. Preparation of tester : 1. Install the tester in an indoor flat place free from wind and vibration This tester has no explosionproof construction and never install it in a place likely to cause explosion or catch fire. 2. After cleaning a test cup and the portions that may touch a sample by adequate solvent, dry them and remove the solvent completely. 3. After installing gas pipe, make sure that there is no gas leak b. Test Procedurs 1. Fill a test cup with a sample up to the marked line, and after putting a cover on the test cup, set it in place in a heating bath. 2. Make sure that the test cup has been set well at the specified position and hat it has been securely locked, and after that, select a thermometer from the following table depending on your samples expected flash point, and mount a thermometer holder. 3. Set the thermometer on the guide hole on the test cups cover. 4. Open gas cook, and ignite a guide flame and a test flame on each nozzle. Regulate the height of a guide flame at around 5 to 6 mm, and then the size of a test flame to 3 to 4 mm aiming at the size of a standard ball. 5. Connect a flexible shaft on upper part of stirrer 6. Ignite a gas burner, regulate its power so that the reading of thermometer goes up at the rate of 5 to 6 C per minute. This rate temperature increase must be kept during all the test duration. 7. Start running a stirrer at the speed of 90 to 120 rpm for the direction to press down a sample 8. Depending on the expected flash point of your sample, do the following operation 9. If the expected flash point of your sample is unknown, then start your preliminary test from the temperature that you may think appropriate. When the temperature has gone up by 5 C from the metioned in the previous item 8.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | KIMIA
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
10. After passing over a test flame, when you have recognaized clear ignition inside the test cup, the samples temperature at this point is recorded as the measured flashpoint of the sample. ( When a samples temperature becomes near its flash point, you will see a bluish white ring around a test flame, but don’t think it as a samples ignition). 11. If there a difference in temperature of 18 C or less or over 28 C between measured temperature of flash point and the temperature when a test flame was first moved, then its result should be treated as null and void. In such a case, using a new sample, try again so as to get a correct flash point, by changing a start temperature to pass over a test flame, within the temperature range of 18 C and 28 C after the test temperature. It should be repeated until you can get a correct flash point. 12. Using a barometer, record the room temperature around the tester used at the time of your test.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002

## KIMIA (1)
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | KIMIA
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
A | PROSEDUR MENGHIDUPKAN VISCOSITY METER:
How to install :
1. Install thermostatic bath at a flat place free from resonance.
2. Pour water into a test tub.
3. Make sure that all connectors of the temperature sensor, stirrer and heater have been securily connected
4. Set the temperature used of measuring kinematic viscosity to a thermometer holder
5. Connect a rubber stopper of cooling coil, a water tap and a drain outlet using a vinyl tube, etc and fix it by a band
6. Make sure that the electric leakage ciecuit breaker has been turned off.
7. Connect the power plug on the thermostatic bath to the AC mains
8. Check the grounding wire firmly grounded.
How to operate 1. Turn on the electric leakage circuit breaker (normally in ON status) 2. Set test temperature you wish to set using the SP changeover switch. 3. When setting the test temperature at 30 C, run water into cooling coil, depending on the room temperature. 4. Turn on the MAIN switch 5. When the bath water temperature rises and becomes stable, the green belt is lit and that temperature is maintained. 6. Turn on LAMP switch 7. When the temperatures reaches the test temperature, put a sample into a glass-made capillary viscometer and measure kinematic viscosity according to the ASTM D445 testing method.
B | PROSEDUR MEMATIKAN VISCOSITY METER:
1. Turn off the MAIN switch when you have finished the test.
2. For the next test, turning on the MAIN switch only is enough as the set temperature value is automatically retained.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | KIMIA
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
A. Prepairing to analysis (PH METER) 1. Operation manual for simple water quality tester Water quality analysis is an essential work in comprehending the water treatment condition. The water quality should be in the proper values. Miura’s Water Quality Tester, type MT-3, is easy to use, which has been developed with the motto of Simple Handling Procedures. 2. Items to be measured a. M alkalinity b. pH c. Chloride ion d. Hardness indicator
B. Procedures to analysis a. Acid Consumption Amount (pH 4,8) (CaCO3) analysis Acid consumption amount stands for basic components in the feed water indirectly. 1. Make cool the sample water to the atmospheric temperature and then filter it if turbid. 2. Take 50 ml of sample water into the beaker and add 5 to 6 drops of M-1 indicator (The color changes to red-green) 3. Add M-2 reagent by syringe till the color changes to grayish purple and count the number of drops Twice the number of drops indicates acid consumption amount (pH 4,8) of the feed. Acid consumption (CaCO3) = 2 x number of drops b. pH for boiler water analysis The pH value means the boiler water should be kept between 11.0 and 11.8 in order to prevent the corrossion of boiler inside, to remove the hardness of boiler water and to avoid the silica scale. 1. Make a cool sample water to the atmospheric temperature and then filter it if turbid. 2. Immerse the tip of the test paper into the sample water. 3. Pull it up immediately and compare the changed color with the color examples on the box.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | KIMIA
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
c. Chloride ion (Cl-) analysis Chloride ion is impulity should be limited to prevent the boiler from corrosion and the estimate the concentration degree of whole solids in the boiler water. By measuring the amount of chloride ion, the C.concentration ratio and blow down ratio can be calculated. 1. Make cool the sample to the atmospheric temperature and the filter it if turbid. 2. If the sample contains such reduceing agent as sulfite ion or hydrazine, add 10 drops of CL-0 reagent and wait one minute and resolves reducing agent. 3. Add 5 to 6 drops of CL-1 indicator (the color chages to blue). Further add CL-2 regulator until the sample water color changes changes completely to green-blue color. 4. Add Cl-3 reagent by syringe until the color changes to purple and then count the number of drops. (Ten times number shows chloride ions. Cl- (mg/l) = number of drops x 10 (when the test water is 25 ml)
d. Hardness for soft water analysis Hardness is the cause of the scaling in the boiler, To prevent scale, it is necessary to keep the hardness in the boiler feed water below 1 mg CaCO3 / l 1. Before measurements, about 2 l of soft water is discharged from the outlet of the water softener. 2. Wash the measuring beaker with soft water. 3. Add 4 drops of the indicator to the beaker 4. Add a small amount (about 20 ml) of the test water to the beaker, and stir it thoroughly. 5. After stiring, add test water to the beaker so that the total volume becomes 50 ml. 6. Check the color changes.
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002

## GMDSS
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | GMDSS
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
PROSEDUR MENGHIDUPKAN
A | Ø Instructor room
1. Move the switch(220V AC for simulator) on the distribution panel to ON
2. The power switch of AVR confirmed to ON
3. The power switch of Instructor’s console is confirmed to ON
B | Ø Training room
4 The power switch of Trainee’s consule 1 is confirmed to turn ON
5 The power switch of Trainee’s consule 2 is confirmed to turn ON
Ø Instructor room
6 The power switch of each equipment an instructor ‘s consule is turn ON
7 Power of MF/HF controller is pushed and power is ON
8 Power VHF controller is pushed and power is ON
9 Power VHF printer in turned ON
10 Power switch of printer equipment is turned ON
Ø Training room 1 and 2
11 The power switch of each equipment on trainee’s console 1 and 2 turned ON
12 Power of MF/HF controller is pushed and power is ON
13 Power VHF controller is pushed and power is ON
14 Power VHF printer in turned ON
15 Power switch of printer equipment is turned ON
16 Power switch of the Inmarsat-C controller is turned ON
17 Power switch of LCD data terminal is turned ON
Ø Instructor room
18 The power switch of UPS cabinet is turned ON(the door is opened and it checks that all UPS is ON
19 Power switch of the system console (personal computer) in the upper left of instructor’s console table in turn ON
20 Ctrl + Alt + Shift is inputted by keyboard
21 Display “Server Selection”
22 SV1 select
23 Enter is inputted with keyboard
24 Display “Welcome JRC’S GMDSS Training”
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002
PIP SEMARANG |  | INTRUKSI KERJA LABORATORIUM, SIMULATOR, WORKSHOP DAN ENGINE HALL |  |  | Nomor Dokumen | : | FM.USW.01.03
[5 empty] | Tgl. Ditetapkan | : | 02 November 2015
[5 empty] | Revisi No | : | 01
[5 empty] | Tgl. Diberlakukan | : | 04 Januari 2016
SIM/LAB/WORKSHOP |  |  | : | GMDSS
TUJUAN |  |  | : | Agar Semua pegawai / operator bisa menghidupkan dan Mengoperasikan serta memati peralatan sesuai dengan prosedur
PENANGGUNG JAWAB |  |  | : | Kepala Laboratorium dan Simulator Gedung INS
PELAKSANA |  |  | : | Teknisi Laboratorium dan Simulator Gedung INS
NO | KETERANGAN LANGKAH KERJA |  |  |  | GAMBAR
PROSEDUR MEMATIKAN
Ø Instructor room
1. The power switch of each equipment on instructor table is turned OFF
2. Power of MF/HF controller is pushed. Enter of keyboard is pushed and power supply is turned OFF
3. Power of VHF controller is pushed and power is OFF
4. Power supply of VHF printer is turned OFF
Power switch of printer equipment is turned OFF
Ø Training room 1 AND 2
5. The power switch of each equipment on trainee console 1 and 2 is turned OFF
2. Power of MF/HF controller is pushed. Enter of keyboard is pushed and power supply is turned OFF
6. Power of VHF controller is pushed and power is OFF
7. Power supply of VHF printer is turned OFF
8. Power switch of printer equipment is turned OFF
9. The power switch of Inmarsat-C controller is turned OFF
The power switch of LCD data terminal is turned OFF
Ø Instructor room
10. If the display screen of the System console (personal computer) which exists in the centre of an instructor’s console is trained Training of a top taskbar is chosen, then END in chosen, and it change into a freezing state
11. Close (x) in the upper right of system console(personal computer) which exists in the centre of a instructor table is chosen, and it is made the screen of windows
12. Display “This will end your GMDSS session” is inputted with a keyboard
13. Yes, is chosen with a mouse
14. Start, is chosen with a mouse
15. Shut Down, is chosen with a mouse
16. Ok, is chosen with a mouse
17. Shut down start
18. The power switch of Instructor console is confirmed to turn OFF
Ø Training room 1 and 2
19. The power switch of trainee’s console 1 and 2 is confirmed to turn OFF
Ø Instructor room
20. The power switch of UPS cabinet is confirmed to turn OFF
21. The power switch of AVR is confirmed to turn OFF
22. Move the switch (220V AC for simulator) on the distribution panel to OFF
Semarang, Februari 2020
Mengetahui, |  |  |  |  | Dibuat
Kapala Unit Sim/Lab/Workshop |  |  |  |  | Kepala Sim/Lab/Workshop
Capt. ARIKA PALAPA, M.Si, M.Mar |  |  |  |  | MOH. ZAENAL ARIFIN, S.ST, MM
NIP.19760709 199808 1 001 |  |  |  |  | NIP. 19760309 201012 1 002